Application for Epinephrine Auto-Injector Approval

Please complete the following questions appropriately and forward this request to the Emergency Health Service Federation office via mail, fax or email to mguerra@ehsf.org

# EMS Agency Information

| Name |  |
| --- | --- |
| Address |  |
| Affiliate # |  |
| Contact |  |
| Phone |  |
| Email |  |

# Unit Medical Director

| Name |  |
| --- | --- |
| Address |  |
| Phone # |  |
| Email |  |

# Storage Agreement

We agree to comply with the manufacturers’ recommendations for storage and maintenance as defined below:

- Store in a dark place at room temperature (59-86 degrees F).

- Do NOT refrigerate.

- Do NOT expose to extreme cold or heat.

- Note expiration date on the unit (month and year).  Replace before expiration date.

- Examine contents in clear window of the auto-injector monthly.

- Replace the unit if the solution is discolored or contains solid particles.

- Protect from prolonged exposure to UV rays.

# Maintenance Agreement

Service must agree to maintain a supply of two (2) each of adult and pediatric dose epinephrine auto-injectors with the required equipment for the ambulance service or QRS service.

# Practitioner Requirements

- The skill may only be used when an EMT is functioning with an ambulance service or QRS service that complies with Department of Health requirements for carrying epinephrine auto-injectors.

- Only an EMT that has completed the training in the primary use (not patient-assisted) epinephrine auto-injector module through the EMT curriculum or continuing education course #004124 may use an epinephrine auto-injector.

- The EMT must be authorized to perform this skill by the ambulance service or QRS service medical director for epinephrine auto-injectors.

# Provider Training

Have the providers of your organization been trained by an appropriate instructor utilizing the continuing education class #004124?

( Yes			( No

If NO, please provide a date in which training has been scheduled. 	/	/

# Approved EMTs

Please attach a roster of EMTs that have attended the training for the epinephrine auto-injectors and a signature from the medical director authorizing their approval.

Signature – Program Coordinator

Agency Name:						Affiliate No.

Print Name:

Signature:

Date:		/	/

Signature – Medical Director

Print Name:

Signature:

Date:		/	/

Any questions should be directed to the Emergency Health Service Federation office or via email to Michael Guerra at mailto:mguerra@ehsf.org.

#### EPINEPHRINE PROVIDER ROSTER

Agency Name:							Affiliate No.

| NAME | CERT NUMBER |
| --- | --- |

EPI-PEN Program Coordinator (please print)

/	/

EPI-PEN Program Coordinator Signature				Date